## Wastewater Flow Summary

WAC 173-240-050(3)(g))

Discharge Monitoring Reports (DMRs) from 2022 through 2024 were analyzed to determine historical influent flows to WWTP for the design period. This data, which represents actual measured flows to and from the facility (taken daily), provides the basis for characterizing system hydraulics in this report. The flow data along with OFM population data, was used to generate Table 5.3-1, which summarizes total system flows, average daily flows, estimated total Equivalent Residential Units (ERUs), and the average daily flow per ERU. The table is followed by a

Table 5-3 Summary of Annual Wastewater Flow and ERUs 2022 to 2024

| Year | Total Flow Entire System (MG/Year) | Average Daily Flow (ADF) (gpd) | Total Equivalent Residential Units (ERU) | Average Daily Flow Per ERU (gpd/ERU) |
| --- | --- | --- | --- | --- |
| 2022 | 49.1 | 134,520 | 460 | 292 |
| 2023 | 42.87 | 117,452 | 460 | 255 |
| 2024 | 36.8 | 100,486 | 461 | 218 |

Guidance for ERU estimation and flow analysis was taken from {{ Cite_Guidance_Document, for instance,  Washington State Department of Ecology's "Criteria for Sewage Works Design" (Orange Book) }}. The Orange Book provides standardized methodologies and typical values used in Washington State, ensuring consistency in engineering assessments. <<check>>

The average annual flow to the WWTP over this period was calculated to be {{ Calculated_Average_Annual_Flow }} gpd. This value is utilized for long-term operational planning, estimating annual O&M costs, and as a fundamental baseline for developing flow projections and assessing overall plant loading against its design capacity.

### ERU Calculations

The amount of wastewater generated by a typical single-family home, the Equivalent Residential Unit (ERU) is a fundamental parameter in wastewater planning, representing the daily hydraulic contribution generated by a single home or dwelling.  The ERU flow was estimated in multiple ways to as a check against error and to account for the strengths and weaknesses of each method.  In facility plans, the ERU concept is used to normalize contributions from various types of connections (residential, commercial, institutional) to a common unit, which simplifies the process of projecting future wastewater flows based on anticipated growth in housing and commercial development. Because of the contribution from I&I and other factors such as the larger variety of uses which make up the commercial and industrial units, residential units are the simplest basis to use as a common basis.

### Wastewater ERU

The rationale behind using winter water consumption data for estimating BSF is that outdoor water use, such as landscape irrigation, is minimal or nonexistent during these colder months. Additionally, while groundwater levels might be seasonally high (potentially increasing infiltration), the direct impact of rainfall-induced inflow is generally less compared to wetter storm seasons like spring, making winter flows more representative of sanitary contributions plus persistent infiltration. To account for the normal portion of metered winter water use which typically doesn’t end up in the wastewater system, a factor of .9 was applied to the BSF.

## Inflow and Infiltration Analysis

### Estimating Average Base Sanitary Flow (BSF)

According to Washington State OFM (WAOFM), a typical single-family home in Tekoa is estimated to have an average of 2.22 residents in 2024. Since the City doesn’t collect water meter readings in the winter due to snow and freezing, source (well) data was used to calculate a per unit average.  Although cleanly delineated year-round meter data would be preferable to winter consumption data alone, winter consumption data is preferable to summer data as a basis for ERU calculations since fewer residents are using domestic water for recreation or irrigation.  To adjust for the fact that not all of the water purchased during any season will make it to the drain, a factor of .95 was applied to the resulting figures, which are summarized in Table 5-4 below.

To estimate the Average Base Sanitary Flow (BSF) per ERU, which represents the wastewater flow originating purely from sanitary sources (excluding significant I&I contributions), the previously derived ERU value by the total number of ERU for the year 2024 (461) to arrive at a figure of 87,776 gpd.  See Table 5-4 below.

Table 5-4 BSF Calculation Summary (Method 1)

| Parameter | Notes | Figures |
| --- | --- | --- |
| Total Nov. - Apr. Consumption | From source consumption data | 15,302,000 |
| Residential Consumption Volume (Gal) | Accounts for DSL and removes commercial flow | 12,394,620 |
| Winter Residential Flow (gpd) | Residential consumption divided by 181 days (Nov. through Apr.) | 68,479 |
| Per Capita Winter Residential Flow (gpd) | Assumed 820 population and factored by .95 | 79 |
| Residential ERU (gpd) | Assumes 2.22 persons per household from OFM | 190 |
| Base Sanitary Flow (gpd) | Residential ERU applied to total ERUs (461) | 87,776 |

Table 5-5 I&I Segregation (GWI and RDII)

| Parameter | Formula | Value (MGD) |
| --- | --- | --- |
| Groundwater Infiltration (GWI) | ADWPeak – BSF = GWI | 0.071 |
| Rainfall-Derived Infiltration & Inflow (RDII) | RDII = AWWF - ADWF | 57 |

### Peak Hour Flow

Peak Hour Flow (PHF), also referred to as Peak Hourly Design Flow (PHDF), represents the maximum rate of wastewater flow expected to reach the WWTP or pass through any component of the collection system within a single hour (or sometimes a shorter, more instantaneous peak). This value is critical for the hydraulic design of many components of the sewer system, including pipe diameters, pump capacities, lift station wet well sizing, and the hydraulic capacity of various treatment plant units (for instance,  screens, grit chambers, primary clarifiers), to ensure they can handle these peak loads without overflowing, surcharging, or experiencing operational issues such as reduced treatment efficiency.

Based on an inspection of flow data from 2022 to 2024, the highest peak flows for Tekoa’s system on the dates listed in Table 5.3-3 below. These events occurred during, or shortly after, significant rainfall events, indicating a strong RDII component contributing to the peaks.

Table 5.3-3: Summary of Rainfall Data for Peak Flow Events

| Date | Rainfall Depth (inches) | Notes |
| --- | --- | --- |
| June 13, 2022 | 0.66 | Occurred during a rainfall event from 6/10 to 6/14, two days after a 1.06 inch precipitation event on 6/7 |
| December 2, 2023 | 0.54 | Occurred during a rainfall event from 12/1 to 12/12 |
| January 2, 2024 | 0.05 | Occurred after a 0.5 in rainfall event on 12/31/23 |

5.3.3(a) Peak Hour Flow Calculation

The peak hour flow was calculated by first identifying the highest recorded daily wastewater volume from the 2022 to 2024 sample period. The highest daily volume observed was 1.18 MG on June 13th, 2022. When attributed to the number of active ERUs in 2022, it translates 25,650 gpd/ERU. This daily volume per ERU is then converted to an average daily flow rate in gallons per minute (GPM) for a flow rate of .

To estimate the peak hour flow from this highest average daily flow rate, a diurnal peaking factor is applied. This factor accounts for the typical variations in water use -----------------------0s }}, a peaking factor of {{ Peaking_Factor_Value, for instance,  using the Harmon formula, Babbitt formula, or a typical range like 2.5 to 4.0 for smaller systems }} was used.
Therefore, Peak Hour Flow (GPM) = (Highest Daily Flow Rate in GPM) ×[;

‘me_of_Town/Utility }}, this results in a calculated Peak Hour Flow of {{ ‘/8 }} GPM.

5.3.3(b) Assumptions and Simplifications

The following assumptions were made in the derivation of the peak hour flow calculations:

- It was assumed that contributions from {{ Commercial_Institutional_Sources_Assumption, for instance,  commercial and institutional sources within the service area exhibit similar diurnal peaking patterns to residential flows, or their contribution to the overall peak flow is relatively small and thus adequately accounted for within the selected overall peaking factor }}. This is because {{ Rationale_Commercial, for instance,  the service area is predominantly residential with limited large commercial/institutional users that would have significantly different peak discharge times }}. <<check>>

- It was assumed that there are {{ No/Minimal }} significant industrial dischargers whose batch discharges or unique operational schedules could disproportionately affect or create atypical peak flows outside the normal diurnal pattern. This is based on {{ Rationale_Industrial, for instance,  a review of connected users and discharge permits }}. <<check>>

- The applied peaking factor is representative of the combined diurnal wastewater generation patterns for the mix of users in {{ Name_of_Town/Utility }}. <<check>>

### Minimum Flow

Calculating daily minimum flows is necessary to ensure that self-cleansing velocities are maintained within the gravity portions of the sewer collection system, preventing the deposition of solids and subsequent blockages, odor issues, and corrosion. It is also important for the proper operation of pumps (to avoid excessive short-cycling which can damage equipment) and some treatment processes that may be sensitive to very low flow conditions or require a minimum hydraulic throughput.

Based on the inspection of flow data from 2022 to 2024, the minimum daily influent volume for the period under consideration was on August 23rd, 2024.  This value was divided by the 2024 ERUs to produce a minimum daily flow per ERU to arrive at a value of {{ Minimum_Daily_Flow_per_ERU }} gpd/ERU, or approximately 24.2 gpm per capita (assuming {{ Avg_Persons_per_ERU }} persons/ERU).

To estimate a "peak hour minimum flow," or more accurately, the lowest instantaneous flow expected during the diurnal cycle on a minimum flow day, the minimum average daily flow rate is considered. Even during the day with the lowest total flow, there will still be diurnal variations with very low flows typically occurring in the late-night/early-morning hours. <<check>> This can be estimated using a minimum diurnal factor (for instance,  {{ Minimum_Diurnal_Factor_Value, for instance,  0.25 to 0.5 }} times the average flow on that minimum day). This minimum instantaneous flow is the critical condition for assessing if velocities in sewers are sufficient to prevent solids deposition, especially in flatter gradient pipes.

Ensuring adequate cleansing velocity (typically around 2 feet per second when flowing at least half full for sanitary sewers) at minimum flow conditions is important because it helps maintain the operational efficiency and longevity of the collection system. It prevents the buildup of solids, which can lead to reduced pipe capacity, accelerated corrosion from septic conditions, nuisance odor generation, and an increased need for costly and disruptive sewer cleaning operations.

### Dry Weather Flow

Average Dry Weather Flow (ADWF) is defined as the total wastewater flow entering the treatment facility during an extended dry period, typically lasting 7 to 14 consecutive days, when direct rainfall-induced inflow is negligible. This flow consists of the true sanitary flow (Qs) generated by residential, commercial, and institutional users, combined with groundwater infiltration (QGWI) that may seep into the collection system through pipe defects, joints, or manholes, especially when groundwater levels are seasonally high. It explicitly excludes significant, direct commercial or industrial process discharges that are not part of the baseline sanitary load, if any.

The assumption of "no additional inflow" during dry weather conditions is critical for isolating the sanitary and groundwater infiltration components. Inflow is primarily associated with direct stormwater entry into the sanitary sewer system, commonly from sources such as improperly connected sump pumps, roof leaders, foundation drains, or cross-connections with storm drains, all of which are activated by precipitation events. By analyzing flow during periods without rainfall, these direct inflow contributions are minimized or eliminated, allowing for a more accurate assessment of the baseline wastewater generation and persistent infiltration. <<check>>

Quantitatively, ADWF can be represented as:
ADWF = Qs + QGWI
Where:

- ADWF = Average Dry Weather Flow (gpd)

- Qs = Base Sanitary Flow from domestic, commercial, and institutional sources (gpd)

- QGWI = Groundwater Infiltration (gpd)

The process of deriving ADWF for {{ Name_of_Town/Utility }} involved a review of historical Discharge Monitoring Reports (DMRs) for the period {{ Start_Year_DMR_Analysis_ADWF }} to {{ End_Year_DMR_Analysis_ADWF }}, in conjunction with daily precipitation data from the {{ NOAA_Station_Name_ADWF }} weather station for the same period. A continuous dry period, defined as at least {{ Min_Dry_Days_for_ADWF, for instance,  7 to 14 }} days with no measurable precipitation (or precipitation below a minimal threshold of {{ Max_Precip_Threshold_for_Dry_Day, for instance,  0.01 inches }}), was identified. The average daily influent flow recorded at the WWTP during this identified period was then calculated to determine the ADWF. This methodical selection ensures the data represents true dry weather conditions. <<check>>

Table {{ Table_Number_ADWF_Data }}: Total Dry Weather Flow Data for Selected Period

| Date | Day of Week | ADWF (gpd) |
| --- | --- | --- |
| {{ ADWF_Date_1 }} | {{ ADWF_Day_1 }} | {{ ADWF_Flow_1 }} |
| {{ ADWF_Date_2 }} | {{ ADWF_Day_2 }} | {{ ADWF_Flow_2 }} |
| {{ ADWF_Date_3 }} | {{ ADWF_Day_3 }} | {{ ADWF_Flow_3 }} |
| ... | ... | ... |
| {{ ADWF_Date_N }} | {{ ADWF_Day_N }} | {{ ADWF_Flow_N }} |
| Average ADWF |  | {{ Calculated_ADWF_Value }} |

The period from {{ ADWF_Period_Start_Date }} to {{ ADWF_Period_End_Date }} (summarized in Table {{ Table_Number_ADWF_Data }}) was chosen for ADWF calculation as it represented {{ Number_of_Dry_Days_in_Period }} consecutive days without significant precipitation and the recorded flows during this time did not exhibit anomalous spikes or drops that might indicate unusual operational conditions or unrecorded minor precipitation events. Such consistency is key to obtaining a representative ADWF value. <<check>>

The calculated ADWF for {{ Name_of_Town/Utility }} is {{ Calculated_ADWF_Value }} gpd. Based on the estimated population of {{ Population_at_Time_of_ADWF_Period }} during this period, the ADWF per capita is approximately {{ ADWF_per_Capita_Value }} gallons per capita per day (gpcd). This figure gives an indication of the average daily water use per person that enters the sewer system from sanitary sources, combined with any groundwater infiltration occurring during these dry conditions. It is a baseline measure of system loading absent storm impacts. <<check>> The U.S. Environmental Protection Agency (EPA) often uses a benchmark of 120 gpcd for evaluating infiltration and inflow (I/I), as outlined in documents like the "Handbook for Sewer System Infrastructure Analysis and Rehabilitation" (EPA/625/6-91/030) or similar I/I analysis guidance. <<check>> This 120 gpcd value typically includes a component for reasonable base sanitary flow (for instance,  an average of 70-80 gpcd nationwide, though this can vary regionally) and an allowance for non-excessive groundwater infiltration (for instance,  around 40-50 gpcd, or a common design allowance like 500-1500 gallons per day per inch-mile of sewer). <<check>> Comparing the calculated {{ ADWF_per_Capita_Value }} gpcd to this EPA guideline suggests that {{ Interpretation_of_Comparison_to_120_gpcd, for instance,  "groundwater infiltration may be a manageable component of the dry weather flow," or "groundwater infiltration appears to be a significant contributor, warranting further investigation," or "the per capita flow is well below the guideline, indicating a relatively tight system during dry weather which is positive but should be verified against expected sanitary flows." }} <<check>> Further investigation into I/I sources is detailed in Chapter {{ Chapter_Number_for_I_I_Analysis }}.

An ADWF significantly below expected sanitary flow could indicate issues such as exfiltration in parts of the system or unusually low per capita water use, while an ADWF significantly above expected sanitary flow points towards higher levels of groundwater infiltration. <<check>>
<<INSERT DISCUSSION ABOUT LEAKY MANHOLES HERE: Manholes, especially older brick or precast concrete structures, can be major sources of groundwater infiltration even during dry weather if the surrounding water table is above the manhole invert or defects in the structure. Common defects include cracked barrels, deteriorated mortar in brick manholes, leaking pipe-to-manhole seals (often called "boots" or gaskets), and compromised frame-to-cone seals. During seasonally high groundwater, water can seep continuously through these defects. If the ADWF is considerably higher than the estimated Base Sanitary Flow (BSF), it strongly suggests that such persistent infiltration from sources like leaky manholes and pipe joints is a significant contributor to the total flow. Findings from any closed-circuit television (CCTV) inspections or smoke/dye testing that identified active infiltration at manholes would be referenced here to support this. For example, "CCTV inspections conducted in {{Year}} identified {{Number}} manholes in the {{Area_Name}} basin exhibiting signs of active infiltration under dry weather conditions." This sets the stage for targeted manhole rehabilitation as an I/I reduction strategy.>> <<check>>

### Wet Weather Flow

Rainfall-Derived Infiltration and Inflow (RDII) is the extraneous surface and groundwater that enters the sanitary sewer system exclusively as a direct consequence of precipitation events. It is composed of two primary components:

- Inflow: Stormwater that enters the sewer system rapidly and directly. Common sources include direct connections like roof leaders, yard drains, catch basins connected to the sanitary sewer, sump pumps improperly discharged to the sanitary sewer, holes in manhole covers, or structurally failed pipes that allow surface water to pour in.

- Infiltration: Groundwater that enters the system more slowly through defects below the ground surface, such as cracks in pipes, deteriorated pipe joints, faulty service connections, and leaky manholes. The rate of this infiltration is often exacerbated by a rise in the groundwater table due to prolonged or intense rainfall saturating the surrounding soil.

RDII is a major concern in wastewater management as it can consume valuable hydraulic capacity in both the collection system pipes and the WWTP. Excessive RDII can lead to sanitary sewer overflows, cause basement backups, reduce treatment efficiency at the WWTP due to dilution and hydraulic overloading, and significantly increase pumping and treatment operational costs.

Mathematically, the total Wet Weather Flow (WWF) during a storm event can be expressed by considering RDII along with the base flow components:
WWF = Qs + QGWI + QRDII
Where:

- WWF = Total Wet Weather Flow (for instance,  in gpd) during the event.

- Qs (gpd) = Base Sanitary Flow (gpd) – the component from user discharges.

- QGWI (gpd) = Groundwater Infiltration (gpd). QGWI is the persistent infiltration component typically present even in dry weather, though it may increase during wet weather due to higher groundwater tables.

- QRDII (gpd) = Rainfall-Derived Infiltration and Inflow is the additional flow directly attributable to the rainfall event.

To perform the wet weather flow analysis for Tekoa’s collection system, daily precipitation data from the Rosalia NOAA weather station (Station ID: {{ NOAA_Station_ID_Rosalia }}) for the period 2022 to 2024 was correlated with influent flow data recorded at the Tekoa’s WWTP as reported in DMRs. The Rosalia station is considered representative for regional precipitation patterns affecting the service area.

Wet Weather Flow (WWF) is qualitatively defined as the significantly increased and often rapidly fluctuating flow observed at the WWTP during and immediately following a rainfall event. This flow includes the normal ADWF components (sanitary flow and baseline groundwater infiltration) plus the additional, often substantial, volume contributed by RDII. The magnitude, timing (how quickly the flow responds to rain), and duration of the WWF response depend on numerous factors. These include rainfall intensity, total rainfall volume, and duration; antecedent moisture conditions (how saturated the ground was before the storm); the physical condition and age of the sewer system (more defects lead to more I&I); soil types and geology; groundwater levels; the topography of the service area; and the extent of directly connected impervious surfaces.

The analysis of WWF for {{ Name_of_Town/Utility }} involved identifying peak flow events from the DMR data that corresponded with significant rainfall events recorded at the Rosalia station. For example, during the storm event of {{ Date_of_Peak_WWF_Storm }}, which recorded {{ Rainfall_Amount_Peak_WWF_Storm }} inches of rain, the peak WWF per capita was calculated to be {{ Peak_WWF_per_Capita_Value }} gpcd. The EPA guidance (for instance,  from I/I analysis handbooks) often suggests that peak wet weather flows exceeding approximately 275 gpcd may be indicative of excessive I/I within a system. <<check>> This 275 gpcd is a general guideline and local conditions or specific permit requirements might dictate other thresholds for "excessive." <<check>> The calculated peak WWF of {{ Peak_WWF_per_Capita_Value }} gpcd for {{ Name_of_Town/Utility }} {{ Comparison_to_EPA_275_gpcd, for instance,  "is below this EPA guideline, suggesting that while RDII is clearly present and contributes to peak flows, it might not be categorized as 'excessive' by this particular metric alone. However, any amount of RDII consumes capacity and should be managed," or "approaches this EPA guideline, indicating that RDII is a significant concern and likely warrants focused mitigation efforts to prevent future capacity issues or SSOs," or "exceeds this EPA guideline, strongly indicating that the system experiences excessive I/I during significant storm events, which necessitates comprehensive investigation and rehabilitation." }} <<check>> Compared to previous I/I studies or facility plans conducted for {{ Name_of_Town/Utility }} in {{ Year_of_Previous_Study, if any }}, the current RDII response {{ Improvement_Status_Compared_to_Previous_Studies, for instance,  "appears to have remained relatively consistent with historical findings, suggesting that past rehabilitation efforts have maintained but not significantly reduced overall RDII," or "shows some improvement in peak flow reduction, potentially due to targeted rehabilitation efforts in Basin X following the {{Year_of_Previous_Study}} study," or "indicates a potential worsening trend in overall RDII response, possibly due to aging infrastructure or new problematic connections." }} <<check>> A detailed I/I analysis, including hydrograph separation to quantify RDII volumes and identification of priority areas for investigation and rehabilitation, is presented in Chapter {{ Chapter_Number_for_I_I_Analysis }}.

| Flow Parameter | 2025 Unit Flow gal/ERU | 2025 | 2031 | 2039 | 2045 |
| --- | --- | --- | --- | --- | --- |
|  |  | Daily Average (gal/day) |  |  |  |
| Average Daily Flow (AADF) |  |  |  |  |  |
| Base Sanitary Flow (BSF) |  |  |  |  |  |
| Average Dry Weather Flow (ADWF) |  |  |  |  |  |
| Maximum Dry Weather Flow (MDWF) |  |  |  |  |  |
| Average Wet Weather Flow (AWWF) |  |  |  |  |  |
| Maximum Week Flow |  |  |  |  |  |
| Maximum Month Flow (MMF) |  |  |  |  |  |
| Flow Parameter | 2025 Unit Flow (gpm/ERU) | 2025 | 2031 | 3039 | 2045 |
|  |  | Flow Rate (gpm) |  |  |  |
| Peak Wet Weather Flow (PWWF) |  |  |  |  |  |
| Peak Hour Design Flow (PHDF) |  |  |  |  |  |
| Peak Instantaneous Design Flow (PIDF) |  |  |  |  |  |
| Minimum Flow |  |  |  |  |  |